53.0”

STANDARD FEATURES

Interior Baffle Arrangement:

Fixed Baffles? (Standard)☐

Adjustable Baffles? (Standard)☐

Exhaust Collar: (Select one.)

Painted CRO Steel Standard.

Interior Lighting Fixture: (Select one.)

T8 Fluorescent Standard.

Sash Frame & Glass: (Select one.

Laminated Safety Glass Standard.

Air Foil: (Select one.)

Painted CRO Steel Standard.

Sash Type: Vertical (Standard)

Liner Material: (Select one.)

Polyresin Standard.

Pre-wire + Electrical (Standard Electrical Factory Prewired): ☐

Monitor / Alarm

Light Switch (Standard)

Choose an item.

Blower Switch (Optional)

☐										☐

Specify Fittings / Fixtures Required

Specify Fittings / Fixtures Required

Electrical (Select one.)

Electrical (Select one.)

Electrical Duplex (120V Standard)

Electrical Duplex (120V Standard)

120V Duplex Standard.									120V Duplex Standard

☐			☐

Customer:

Click or tap here to enter text.

OPTIONAL ACCESSORIES

Ceiling Enclosure? ☐

Hinged Access Panel on Ceiling Enclosures?

☐

Finished Back?   ☐

Sash Type: Choose an item.

Additional Options: Sash Locks? ☐

Sash Stops? ☐

Sash Alarm? ☐

Service Fixture Type: Choose an item.

(Height)

Room #:  Click or tap here to enter text.

Elevation #:  Click or tap here to enter text.

Fume Hood #: Click or tap here to enter text.

Qty.:  Click or tap here to enter text.

Pre-piping:  Click or tap here to enter text.

Bypass Type:  Choose an item.

Optional FH Depth:  Choose an item.

Product Number:  Click or tap here to enter text.

Custom Sizes Available.  Contact Hamilton.

Special Requirements / Notes:					36” ☐   48” ☐   60” ☐   96” ☐

Click or tap here to enter text.

29”, 35” or 41”

FUME VENT

(SIZE VARIES.  SEE CHART)

℄

TABLE OF FUME VENT DIMENSIONS FOR VARIOUS FUME HOOD WIDTHS.

| Fume Hood Width | Fume Vent Dimensions |
| --- | --- |
| 36” | 6” X 9” |
| 48” | 6” X 15” |
| 60” | 6“ X 23” |
| 72” | 6” X 23” |
| 84” | 6” X 26” |
| 96” | 6” X 30” |

SERVICE ROUGH-IN DETAIL

(SEE TABLE AT RIGHT FOR FUME HOOD VENT SIZE BASED ON WIDTH OF FUME HOOD.)

OPTIONAL CUPSINK CUTOUT LOCATIONS

Epoxy Work Surface

(Specify location of cupsink)

*When utilizing 22” deep cabinets, cupsink measurement changes to 5.25” in lieu of 9”.

Note: At 5.25”, it will have the cup sink sit slightly under the baffle.

Include Acid Cabinet Vent Hole? ☐

Cupsink Options: Choose an item.

Add 0.25” Raised Rim? ☐

Work Surface Material: Choose an item.